## Tower Eq Deployment
FLOOR | DATE EQ DEPLOYED | TOTAL RECEPTICLES | RECEPTICLES NOT ENERGIZED | RECEPTICLES ENERGIZED | 2000 CFM AIR SCRUBBERS | 600 CFM AIR SCRUBBERS | 500 CFM AIR SCRUBBERS | TOTAL CFH | CFH NEEDED @ 4 ACH | SUPERVISOR | NOTES
56 Mechanical | 2024-10-29 |  |  |  | 1 | 6 |  | 336000 |  | Greg
56 | 2024-10-28 | 93 | 0 | 93 | 12 | 4 |  | 1584000 | 2160480 | Jose
55 | 2024-10-28 | 6 | 0 | 6 | 4 | 1 |  | 516000 | 1758180 | Alex | Restroom Floor
55 | 2024-10-29 |  |  |  |  | 5 |  | 180000 | 0 | Alex
54 | 2024-10-28 |  |  |  | 12 | 0 |  | 1440000 | 1930860 | Alex
54 | 2024-10-29 |  |  |  |  | 3 |  | 108000 | 0 | Alex
53 | 2024-10-28 | 5 | 0 | 5 | 10 |  |  | 1200000 | 1894680 | Jose | Has a 33 x 28 MEP room needing stabilization it locked
52 | [7 empty] | 0 | 1871460 | Jose
51 | 2024-10-29 |  |  |  | 17 | 15 |  | 2580000 | 1928280 | Alex
50 | 2024-10-30 | 154 |  | 108 | 4 | 30 |  | 1560000 | 1815360 | Jose
50 | 2024-11-01 |  |  |  | 2 | 6 |  | 456000 | 0 | Jose
49 | [7 empty] | 0 | 1820640
48 | 2024-10-30 |  |  |  | 4 | 30 |  | 1560000 | 1819680 | Alex
47 | [7 empty] | 0 | 1902000 |  | STAGGING FLOOR
46 | 2024-10-31 |  |  |  | 4 | 30 |  | 1560000 | 1882500 | Alex
45 | 2024-10-31 |  |  |  | 4 | 30 |  | 1560000 | 1897500 | Alex
44 | 2024-11-01 |  |  |  | 4 | 30 |  | 1560000 | 1823640 | Alex
43 | 2024-11-01 |  |  |  | 4 | 30 |  | 1560000 | 1931760 | Alex
42 | [7 empty] | 0 | 1778340
41 | 2024-10-29 | [5 empty] | 20 | 600000 | 1892100 | Scott
40 | [7 empty] | 0 | 1920960
39 | [7 empty] | 0
38 | [7 empty] | 0
37 | [7 empty] | 0
36 | [7 empty] | 0
35 | [7 empty] | 0
34 | [7 empty] | 0
33 | [7 empty] | 0
32 | [7 empty] | 0
31 | [7 empty] | 0
30 | [7 empty] | 0
29 | [7 empty] | 0
28 | [7 empty] | 0
27 | [7 empty] | 0
26 | [7 empty] | 0
25 | [7 empty] | 0
24 | [7 empty] | 0
23 | [7 empty] | 0
22 | [7 empty] | 0
21 | [7 empty] | 0
20 | [7 empty] | 0
19 | [7 empty] | 0
18 | [7 empty] | 0
17 | [7 empty] | 0
16 | [7 empty] | 0
15 | [7 empty] | 0
14 | [7 empty] | 0
13 | [7 empty] | 0
12 | [7 empty] | 0
11 | [7 empty] | 0
10 | [7 empty] | 0
9 | [7 empty] | 0
8 | [7 empty] | 0
7 | [7 empty] | 0
6 | [7 empty] | 0
5 | [7 empty] | 0
4 | [7 empty] | 0
3 | [7 empty] | 0
2 | [7 empty] | 0
1 | [7 empty] | 0
LL | [7 empty] | 0
Basement | [7 empty] | 0
TOTAL |  |  |  |  | 81 | 214 | 20 | 18024000 | 32028420
Occupied

## Roof Top MCC Roof
FLOOR | DATE EQ DEPLOYED | TOTAL RECEPTICLES | RECEPTICLES NOT ENERGIZED | RECEPTICLES ENERGIZED | 2000 CFM AIR SCRUBBERS | 600 CFM AIR SCRUBBERS | 500 CFM AIR SCRUBBERS | TOTAL CFH | CFH NEEDED @ 4 ACH | SUPERVISOR | NOTES
Roof MCC | [5 empty] | 6